| Course title: | Quality Systems in Materials Research and Laboratory Practice |
| --- | --- |
| Institute/Division: | Institute of Materials Engineering, Faculty of Materials Engineering and Physics |
| Number of contact hours: | 30 hours |
| Course duration: | 1 semester |
| ECTS credits: | 5 |

## Course description:

The course focuses on quality assurance and quality management systems in materials research laboratories. Particular emphasis is placed on the practical implementation of ISO 17025 (General requirements for the competence of testing and calibration laboratories) and ISO 9000 series standards (Quality management systems – fundamentals and vocabulary) in materials testing, microstructural analysis, mechanical testing and physicochemical characterization.

Students will acquire knowledge and practical skills in the following areas:

Quality management principles in materials engineering laboratories

Structure and documentation of a laboratory quality system

ISO/IEC 17025 requirements in materials testing and research practice

ISO 9000 terminology and process-based approach in laboratory management

Risk-based thinking and corrective/preventive actions

Measurement traceability and uncertainty in materials testing

Validation and verification of test methods

Internal audits and management review in research laboratories

Control of documents and records in accredited laboratories

Ethics and impartiality in materials research

## Literature:

ISO/IEC 17025:2017 – General requirements for the competence of testing and calibration laboratories.

ISO 9001:2015 – Quality management systems – Requirements.

ISO 9000:2015 – Quality management systems – Fundamentals and vocabulary.

Hoyle, D., ISO 9000 Quality Systems Handbook, Routledge.

Eurachem Guide: The Fitness for Purpose of Analytical Methods – A Laboratory Guide to Method Validation and Related Topics.

Course type: lectures (15 hours), classes (15 hours)

Assessment method: oral examination, preparation of laboratory quality documentation, case study analysis

Prerequisites: basic knowledge of materials science and laboratory techniques

Primary target group: Materials Science students

Lecturer: Dr. Eng. Krzysztof Miernik

Contact person: Krzysztof Miernik, e-mail: Krzysztof.miernik@pk.edu.pl